APPLICATION FOR INTERCONNECTION AND PARALLEL OPERATION WITH

JERSEY CENTRAL POWER & LIGHT’S SUB-TRANSMISSION SYSTEM

Return completed application with application fee to:

FirstEnergy Corporation

c/o Metropolitan Edison Co

P.O. Box 16001

Reading, PA 19612

Attn:  PA Rates - Net Metering & Interconnection

Fax:  330 – 777 - 6083

Customer’s Name:

Address:

City:       	  State:         Zip:

Account Number:

Contact Person:

Telephone Number:

Service Point Address:

City:       	  State:         Zip:

Information Prepared and Submitted By:

Company Name

City:       	  State:         Zip:

Address:

Telephone Number:       		Email:

GENERATOR

The following information shall be supplied by the Customer or Customer’s designated representative. All applicable items must be accurately completed in order that the Customer’s generating facilities may be effectively evaluated for interconnection with the Company’s Distribution System.

Type;  ,    Fuel Source:

Number of Units:       	   Manufacturer:

Model Number of Inverter (If Applicable):

Inverter Rating (If Applicable):        kW,    	Number of Phases:,	 Frequency:       Hz

DC Source Rating (If Applicable):        kW	DC Voltage Rating (If Applicable):        V

kW Rating (@ 95F at location):        kW	  	kVA Rating (@ 95F at location):      kVA

Power Factor:        %,	Voltage Rating:        VAC,	Ampere Rating:       Amps

Do you plan to export power?

If Yes, Estimated Maximum:       kW,	Est Gross Energy:       kWh per

(Attach additional sheets as necessary in the event of multiple units of various types/sizes.)

APPLICATION FOR INTERCONNECTION AND PARALLEL OPERATION – Continued

Normal Operation of Interconnection:

If “Other”, please describe:

Application Fee  $        [Checks may be made payable to FirstEnergy Corporation.]

One-line diagram attached?     [Note: Requires a “Yes” for a complete Application.]

Have testing results been supplied to the Company documenting conformance with the Company’s technical requirements:    [Note: Requires a “Yes” for a complete Application.]

Have all necessary government permits and approvals been obtained for the project prior to this application?    [Note: Requires a “Yes” for an Application to be considered complete,]

Have the generator manufacturer machine characteristics been supplied to the Company?    [Note: Requires a “Yes” for a complete Application.]

Is there a layout sketch showing lockable, “visible” disconnect device?     [“Yes” Required for a complete Application.]

Application fee: $       [Checks may be made payable to FirstEnergy Corporation.]

DATE:      		[Insert Customer Name Here]

By:

(Signature)

Name:

(Type or Print)

Title:

(Type or Print)

GENERATOR DATA

FOR STABILITY CALCULATIONS

(Not Intended for Inverter Based Systems)

Machine MVA base for each machine:

Step-up transformer percent impedance and MVA base

% R + J	     	 % X	     	 MVA

% R + J	     	 % X	     	 MVA

| Value* | Description (for each machine) |  |
| --- | --- | --- |
|  | T’do (sec. 0) |  |
|  | T’do (sec. 0) |  |
|  | T’qo (sec. 0) |  |
|  | T”qo (sec. 0) |  |
|  | Inertia H Total Shaft Inertia (Turbine, exciter, generator) |  |
|  | Speed Damping D If unavailable, program defaults to 0.0 |  |
|  | Xd |  |
|  | Xq | Excitation System Brand Name: Type: |
|  | X’d |  |
|  | X’q |  |
|  | X”d = X”q |  |
|  | X1 If unavailable, program defaults to 0.05Xd |  |
|  | S(1.0) Saturation values 1.0 p.u. voltage; if unavailable, program defaults to 0.11 |  |
|  | S(1.2) Saturation values 1.2 p.u. voltage; if unavailable, program defaults to 0.48 |  |

* Xd, Xq, X’d, X’q, X”d, X”q, X1, H, and D are in p.u. machine base.

X”q must be equal to X”d

In accordance with the regulations for Net Metering and Interconnection Standards for Class I Renewable Energy Systems, the Company shall charge each Interconnection Service Customer, eligible for net metering, that applies for Interconnection Service a nonrefundable Application fee, payable at the time the Application is submitted.  Level 1 – No charge, Level 2 = $50 +$1 / kW, Level 3 = 100 +$2 / kW.

Other Interconnection Service Customers shall be assessed a $250 nonrefundable Application Fee and shall deposit with the Company an amount equal to $5 per kW of generation referenced in the Application for all generation units greater than 50kW.  All units 50kW or less shall be assessed a $250 nonrefundable Application Fee only as its deposit.  The Company shall apply the deposit to the Company’s actual costs associated with the Interconnection.  If such costs are greater than the amount of the deposit, the customer shall pay such additional costs to the Company.  If such costs are less than the amount of the deposit the Company shall refund the balance of the deposit to the customer.